This checklist is intended for motorised and non-motorised plant and equipment which is typically operated in a static location. This includes generators, welders, lighting towers, air compressors, pumps, fuel tanks and pressure washers. For mobile plant, use an asset specific checklist, or if there is not one available; use the General Mobile Plant Pre-Mobilisation Checklist.

This checklist must be completed by the equipment owner (e.g. supplier, contractor) and submitted to Martinus for acceptance prior to mobilising to site.  A hard copy of this completed checklist along with associated paperwork (detailed below) must travel with the equipment to site for verification and approval by Martinus upon delivery.

| Asset number |  | Asset description |  |
| --- | --- | --- | --- |
| Hours |  | Date of Hours |  |
| Manufacturer |  | Model |  |
| Date of manufacture |  | Serial No# |  |
| Registration |  | Supplier |  |
| Project name |  | Supplier location |  |
| Project location |  | Project code |  |
| Contractor: (if applicable) |  | Contractors contact name: (if applicable) |  |

| PART A – Martinus Minimum Requirements for Plant |  | Owner / Supplier |  |  | Martinus |
| --- | --- | --- | --- | --- | --- |
|  |  | Yes | No | N/A | Approved |
| 1 | Fire extinguisher (class ABE) and tested and tagged within 6 months. Date: ____ /_____ / ______ Min. 4.5kg extinguisher required for: - Engine driven welders ≥ 200amp - Compressors ≥ 185cfm - Lighting towers 9 kg extinguisher required for: - Generators ≥ 12kva |  |  |  |  |
| 2 | Lockable battery isolation switch c/w identification decal |  |  |  |  |
| 3 | Emergency stop (with decal) easily and safely accessible from outside plant |  |  |  |  |
| 4 | Guarding (lockable door and/or limit switch and/or guarding over parts) |  |  |  |  |
| 5 | Safety signage in place for pinch points, rotating parts, heat points, information, warnings etc. |  |  |  |  |
| 6 | Plant asset decals must be manufactured to the following specifications: Black numbering and lettering in fluorescent yellow background. Must be clearly visible and readable form a distance of 50m Fitted to RHS, LHS & Rear |  |  |  |  |
| 7 | Rated lifting point with identification decal or forklift tynes access |  |  |  |  |
| 8 | Wheel chocks with carrying mounts (for rubber tyred equipment) |  |  |  |  |
| 9 | Grease gun to DIN 1283 standard (for applicable plant) |  |  |  |  |
| 10 | Fuel and oil bunded to 110% capacity of volume |  |  |  |  |
|  | Generators, Welders and Lighting Plant (in addition to above requirements) |  |  |  |  |
| 11 | Electrical testing and tagging for machines with a 240V GPO |  |  |  |  |
| 12 | Earth stake (where required by the OEM manual) |  |  |  |  |
| 13 | Circuit diagram label |  |  |  |  |
|  | Welders (in addition to above requirements) |  |  |  |  |
| 14 | Voltage reduction device |  |  |  |  |
| 15 | Earth leakage device |  |  |  |  |
|  | Compressors (in addition to minimum requirements) |  |  |  |  |
| 16 | Whip checks in place or available |  |  |  |  |
| 17 | Pressure relief valve within test date |  |  |  |  |
| 18 | Air receiver within test date |  |  |  |  |

- All items ticked N/A must have the related risks documented in the site SWMS or Risk Assessment.

| PART B – Compliance Documentation for Plant |  | Owner / Supplier |  |  | Martinus |
| --- | --- | --- | --- | --- | --- |
|  |  | Yes | No | N/A | Approved |
| 19 | Operators Manual specific to make and model |  |  |  |  |
| 20 | Daily Pre-start book specific to asset type |  |  |  |  |
| 21 | Maintenance history (minimum of 12 months records) |  |  |  |  |
| 22 | Plant Risk Assessment (plant specific) |  |  |  |  |
| 23 | Change management documents available for any modifications |  |  |  |  |
| 24 | Road registration papers, sticker and plates (where applicable) |  |  |  |  |
| 25 | Weed and seed certificate / declaration |  |  |  |  |
| 26 | Site specific / client paperwork |  |  |  |  |

| PART C – Maintenance and Condition |  | Owner / Supplier |  |  | Martinus |
| --- | --- | --- | --- | --- | --- |
|  |  | Yes | No | N/A | Approved |
| 27 | General cleanliness inside and out |  |  |  |  |
| 28 | Any existing damage (list in comments) |  |  |  |  |
| 29 | Machine starts and runs correctly (function test as applicable) |  |  |  |  |
| 30 | Lighting towers – check lights, hydraulic cylinders, mast cables etc. |  |  |  |  |
| 31 | Compressors – condition of compressed air hoses, fittings, couplings |  |  |  |  |
| 32 | Safety decals in good condition & legible. |  |  |  |  |
| 33 | Rear and Side Reflective Tape The tape must be YELLOW with a retro-reflective surface. Photometric performance and durability must comply with AS 1906, Class 2. Size: Approx. 50mm wide strip Installation: Applied evenly down sides & rear of the equipment so as to make it visible from 360 degrees |  |  |  |  |
| 34 | Battery retained & terminals covered with an insulative material. |  |  |  |  |
| 35 | Exhaust system in good condition |  |  |  |  |
| 36 | Free of visible oil / water leaks |  |  |  |  |
| 37 | Check hydraulic and fuel system hoses and fittings for deterioration, wear or damage |  |  |  |  |
| 38 | Check fluid levels |  |  |  |  |
| 39 | Fan and drive belts |  |  |  |  |
| 40 | Lights, indicators, horn, instruments in working order |  |  |  |  |
| 41 | Check for loose nuts, bolts, connections and other fixtures |  |  |  |  |
| 42 | Wheel Nut Indicators |  |  |  |  |
| 43 | Roadworthiness of trailer mounted units – tyres, brakes, tow hitch, draw bar, lights |  |  |  |  |
| Comments |  |  |  |  |  |

| PART C – Maintenance and Condition |  |  |  | Owner / Supplier | Martinus |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | Checked / Verified | Site Checked |
| Check for loose nuts, bolts, connections, and other fixtures |  |  |  |  |  |
| Full tank of fuel: |  |  |  |  |  |
| Last service date: |  | Type: |  |  |  |
| Next service date: |  | Type: |  |  |  |
| Accessories supplied with machine: |  |  |  |  |  |
| Tyre measurements and sizes: | F/L |  | F/R |  |  |
|  | R/L |  | R/R |  |  |
| Condition photographs (inside, outside, all sides, attachments, tyres, tracks, RCD, fire equipment, out riggers, tow hitch) – saved to file |  |  |  | Yes | No |
| Comments - Notes on minimum requirements exceptions; list additional included asset or serial numbers; any further information: |  |  |  |  |  |

| PART D – Basic Operation Inspection and Maintenance Risks |  | Owner / Supplier |  |  | Martinus |
| --- | --- | --- | --- | --- | --- |
|  |  | Yes | No | N/A | Approved |
| 44 | Can any person slip while ascending or descending the plant? |  |  |  |  |
| 45 | Can any person fall from the plant? |  |  |  |  |
| 46 | Can any person be struck by an object or material falling? |  |  |  |  |
| 47 | Can the plant rollover or become unstable? |  |  |  |  |

| Part E - Pre-acceptance declaration (Equipment Owner / Supplier) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Date of final report: |  |  | Hours / Km at final report: |  |  |  |
| Ignition, toolbox and panel keys present with machine? |  |  |  |  | Yes | No |
| I declare that this machine is in a safe condition, is free from defect and is fit for purpose: |  |  |  |  |  |  |
| Name |  |  | Position |  |  |  |
| Signed and Accepted by Project: |  |  |  |  |  |  |
| Name |  |  | Position |  |  |  |
| Date |  |  | Signature |  |  |  |
| Declined by Project: |  |  |  |  |  |  |
| Name |  |  | Position |  |  |  |
| Date |  |  | Signature |  |  |  |
| Comments |  |  |  |  |  |  |
| - IMPORTANT NOTE: Should the plant be defective, require immediate repair, the logbook, Plant Risk Assessment or any of the other required documentation unacceptable, the plant is to be stood down, parked, key removed and locked (if possible) and tagged as "out of service" or removed from site. - Reinspection by an Martinus Representative using the original Pre-acceptance Checklist is to be conducted to ensure acceptance for use on the site prior to the commencement of works on the project. |  |  |  |  |  |  |